HBM Kft.

**Csilla Sárközi**

*Project engineer*

Váci út 80.

H-1133 Budapest

|  |  |
| --- | --- |
| **Subject/Tárgy:** | **Preliminary integriy test report**  **Date of measurement: 2022.11.15.**  **BMW Plant, Debrecen**  **„TKB” building structural piles: 18 pile**   * *Pile No. P1585 - P1590* * *Pile No. P1659 - P1668* * *Pile No. P1904* * *Pile No. P1908* |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Client Reference No:  Ügyfél iktatószáma: | Fugro Reference No:  Fugro iktatószáma: | Name of Administrator:  Ügyintéző neve: | Phone No:  Telefonszám: | e-mail:  e-mail: | Date:  Dátum: |
| - / - | FCH-20091\_04 | Világi Tamás | +36 20 261 0458 | [vilagi@fugro.hu](mailto:vilagi@fugro.hu) | 2022. nov. 16. |

Dear Csilla Sárközi!

According to your request we made integrity test of the pile of the mentioned industrial building.

Comment.

Based ont he results of the completed site measurements, it can be estabilished in advance that the tested piles are continuous, and their length are in line with the plans. We shall soon supply our expert statement to You corresponding tot he above.

Üdvözlettel,

|  |  |  |
| --- | --- | --- |
|  |  |  |
| Világi Tamás  *Chief Technician* |  | Dr. Pusztai József  *Managing Director Geotechnical Designer MMK: 01-5189* |